| Cedars Before and After School Club at Berkswich CE Primary School |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Reference Number C17 |  | Shared with Staff May 2024 | Ratified by Governing Board May 2024 |  | Review Date May 2026 |
| Policy Title | Cedars Fire Safety Policy |  |  |  |  |

Legal framework

This policy has due regard to all relevant legislation and statutory guidance including, but not limited to, the following:

- Health and Safety at Work etc. Act 1974

- Management of Health and Safety at Work Regulations 1999 (as amended)

- The Regulatory Reform (Fire Safety) Order 2005

- Department for Communities and Local Government (2006) ‘Fire safety risk assessment: educational premises’

- DfE (2015) ‘Supporting Pupils at School with Medical Conditions’

This policy operates in conjunction with the following school and Cedars policies:

- The school’s Health, Safety and Wellbeing Policy

- The schools Invacuation, Lockdown and Evacuation Policy

- The school’s Fire Safety Training Plan

- Cedars Evacuation Procedure

- All Personal Emergency Evacuation Plans (PEEP)

- Cedars Fire Safety Risk Assessment

- Cedars Risk Assessment policy

- Cedars Accidents, Illnesses and Emergencies policy

Roles and responsibilities

The governing board, in consultation with the manager, will:

- Ensure personal and Cedars staff and member’s familiarity with the requirements of the appropriate legislation and codes of practice.

- Create and monitor a management structure responsible for health and safety in the setting, including but not limited to, fire safety.

- Ensure there is a detailed and enforceable policy for fire safety, and that the policy is implemented by all.

- Help to put in place measures to identify risks relating to possible accidents and injuries, suggesting reasonable adjustments to prevent them occurring.

The governing board will provide:

- A safe place for all users of the site, including staff, club members and visitors.

- Safe means of entry and exit for all site users.

- Equipment, grounds and systems of work which are safe.

- Safe and healthy working conditions that comply with statutory requirements, codes of practice and guidance.

- Supervision, training and instruction, so that all staff can perform their duties in a healthy and safe manner.

- Adequate funds to ensure the training of the fire safety officer and all other staff.

The deputy head will:

- be the designated contact with the Health and Safety Executive (HSE) where necessary.

- Support the day-to-day development and implementation of safe working practices and conditions for all staff, club members and visitors.

- Take reasonably practicable steps to ensure this policy is implemented by the manager

- Take responsibility for the school’s fire safety matters, in collaboration with the manager.

- Review relevant and updated legislation to ensure the club is working within the parameters of the law and as safely as possible.

The manager will:

- Act as fire safety officer to be responsible for the day-to-day implementation of this policy.

- Take steps to ensure all members of staff, pupils and visitors are familiar with this policy.

- Work with the Fire Safety Officer (FSO) to review and update this policy accordingly, every year.

- Identify risks relating to possible accidents and injuries, and make reasonable adjustments and suggestions to prevent them occurring.

- Take responsibility for the school’s fire safety matters, in collaboration with the deputy headteacher.

- Coordinate the implementation of all fire safety measures, ensure staff and club member training takes place.

- Sporadically throughout the school year, but at least once per term, undertake a whole-school fire evacuation drill – to ensure the school’s staff members, pupils and visitors know what to do in the event of a real fire.

- Ensure new and existing staff members undertake briefing sessions at least once per year.

- Communicate relevant correspondence regarding fire safety to all members of staff and, where necessary, the governing board.

- Review and, if necessary, update the Cedars Fire Safety Training Plan and other relevant procedures once per year.

- Conduct risk assessments and ensure necessary procedures are in place to mitigate the risks of fires.

- Be familiar with the plan of the school, including the locations of all fire extinguishers, hosepipes and fire exits.

- Create an individual Personal Emergency Evacuation Plan (PEEP) for each person who will require assistance during fire drills; parents, carers and school staff will be involved to ensure that this PEEP meets the needs of the child.

- Contact the emergency services in the event of a fire.

- Use fire extinguishers where necessary.

- Work with the deputy headteacher to nominate a temporary fire safety officer in their absence.

- Review activities to ensure specific restrictions on events, such as setting capacities and limiting the types of activity.

Staff members will:

- Take reasonable care of their health and safety.

- Cooperate with their colleagues, the fire safety officer and deputy headteacher on all fire safety matters.

- Carry out their work in accordance with fire safety training and instructions.

- Inform the manager of any work situation representing serious and immediate danger, so that remedial action can be taken.

- Familiarise themselves with all their responsibilities as set out in this policy, and aspects of their work relating to potential fire hazards.

- Avoid any conduct which puts themselves or others at risk.

- Follow, and help to carry out, relevant risk assessments to ensure the safety of themselves and other staff members, pupils and visitors.

- Ensure that all staff, pupils and visitors are applying fire safety regulations and adhering to all rules, routines and procedures in place.

- Ensure all equipment is in good working order and safe to use and used appropriately.

- Use the correct equipment and tools for their work and any protective clothing supplied.

- Ensure any toxic, hazardous or flammable substances are used correctly, and stored and labelled as appropriate.

- Report any defects in equipment or facilities to the designated fire safety officer and/or the designated health and safety officer.

- Take an interest in fire safety matters, and suggest any changes they think are appropriate.

- Make suggestions as to how the club can reduce the risk of fires.

- Exercise good standards of housekeeping and cleanliness.

- Adhere to their common law duty to act as a prudent parent would when in charge of club members.

- Ensure waste paper bins in rooms used are emptied to mitigate the risk of fire.

All members will:

- Ensure they are aware of the school and Cedars’ fire safety procedures, with support from the club staff.

- Exercise personal responsibility for the health and safety of themselves and others.

- Respond to the instruction given by staff members in an emergency, e.g. evacuation procedures.

- Observe all health and safety rules of the school and club.

- Not misuse, neglect or interfere with items supplied for their, and other pupils’ health and safety.

- Report any defects in equipment or facilities to a member of club staff as soon as possible.

All visitors and volunteers will:

- Familiarise themselves with all health and safety policies and procedures including, but not limited to, this policy.

- Be aware of the evacuation procedure and fire assembly points.

- Respond to the instruction given by staff members in an emergency.

- Put a principal person in charge, who will take responsibility for safe practice, in the event the school is used for purposes not under the direction of the headteacher, e.g. building works during holiday club periods.

- Inform the manager of all potential risks to staff, pupils and visitors.

- Assist the deputy headteacher and fire safety officer in carrying out relevant risk assessments, suggesting ways to mitigate potential risks, before any work is carried out.

- Report any defects in equipment or facilities to the fire safety officer and/or the designated health and safety officer or, failing this, the nearest member of staff.

- Discuss any concerns regarding fire safety with the deputy headteacher or fire safety officer.

Instructions for pupils, volunteers, visitors, and staff members who are not trained fire marshals

If you discover a fire, do not attempt to tackle the fire. Activate the alarm by means of the nearest alarm call point and leave the building following the procedure below:

- When you hear the fire alarm, follow the exit signs and leave the building by the nearest exit

- Assemble at the assembly point, which is on the field, on the playground or in the carpark.

- Do not delay in leaving the building

- Stay at the assembly point – do not move around the site unless instructed

- Remain silent at the assembly point

- Await further instruction

- Do not return to a building until told it is safe to do so – the alarm no longer sounding is not the ‘all clear’ signal

Risk assessments and checklists

The Cedars fire safety officer (the manager), in cooperation with the deputy headteacher, will ensure all fire related hazards are identified and risk assessments are completed for all areas of the school, in accordance with the Department for Communities and Local Government’s ‘fire safety risk assessment: educational premises’ guidance.

Termly assessments of high-risk areas, such as kitchens, will be undertaken. Annual risk assessments will be conducted for all other lower-risk areas of the school. The fire risk assessments will be reviewed by the fire safety officer and will be amended after:

- Any structural changes, e.g. alterations to the layout of the premises or refurbishment, have taken place.

- Any change to the use of the school grounds which may affect the risk rating.

- Any change to work processes or equipment which may introduce new fire hazards.

- Any change to the number of people using the school, to ensure that fire escapes and fire assembly points can accommodate the numbers safely.

All visitors (and contractors during holiday periods) will be made aware of the risk assessments relevant to their activities as soon as possible after entering the school.

The school’s fire safety officer will use checklists to ensure all fire detection and protection equipment, e.g. smoke alarms and fire extinguishers, are in working order. Checklists of all kitchen and electrical equipment, e.g. cookers and heaters, which pose a potential fire risk, will be taken to ensure they are in working order.

Preventative measures

The manager will liaise with the school’s fire safety officer who will inspect the school’s fire prevention measures once per month to ensure the school is achieving maximum fire safety.

Fire hazards, such as hot surfaces, naked flames, electrical equipment and flammable liquids, will be identified by the manager and measures will be put in place to ensure these risks are mitigated and controlled. Other than staff use of the toaster, high risk activities will not be carried out during Cedars hours by staff or members.

All flammable materials and fuels, such as paper, cardboard and solvents, will be securely disposed of.

Club members will not be allowed to carry out processes involving heat, such as using the oven. When using the school kitchen, children will be supervised at all times whilst undertaking cooking activities. These will not include use of the oven or hob. Relevant risk assessments will be undertaken before using certain equipment.

Flammable liquids, materials and gases will not be used as part of club activities.

All curtains, upholstered furniture and other soft furnishings are fire retardant, or have been treated to ensure their safety.

Good housekeeping

The risk of fire can be greatly reduced by a regime of good housekeeping within the workplace, and the need for good housekeeping cannot be overemphasised; if good housekeeping is not maintained, the risk of fire spreading is vastly increased. The school recognises the importance of good housekeeping, including not obstructing fire routes, fire doors and general tidiness. Club members will also be made aware of the importance of good housekeeping.

The club’s housekeeping rules include:

- Parents and carers are not permitted to smoke anywhere within any of the school buildings or grounds.

- Spillages will be cleaned up as soon as possible.

- Rubbish will be cleared away and will not be left in fire routes or against the building fabric.

Provision and maintenance of emergency routes and exits

As part of the school’s monthly fire safety inspection, the school’s fire safety officer will ensure that:

- All fire escape routes are clear of obstruction.

- Emergency routes and exits lead as directly as possible to a place of safety.

- Emergency routes and exits are identified by suitable fire signs.

- Emergency fire doors open in the direction of escape wherever possible and are unobstructed.

- Emergency fire doors are not locked, and can be easily and immediately opened by any person who may need to use them in an emergency.

- Emergency fire escape routes and exits are provided with emergency lighting, of adequate intensity in case of failure of their normal lighting.

Educating pupils

Club members will be reminded to remain vigilant to fire and fire hazards, including flammable materials, during fire drills and other times where there is a heightened risk of fire (e.g., during cooking activities.)

The school’s zero-tolerance approach to club members unnecessarily tampering with fire alarms will be communicated during discussions about fire drills.

Any updates relevant to club members, such as changes in responsibilities in the Fire Safety Policy, will be communicated to parents, carers and members.

Measures for disabled people

The manager and deputy head will be notified of anyone who may be unable to evacuate the school unassisted – this person will be subject to a Personal Emergency Evacuation Plan (PEEP), created by the manager in collaboration with the schools SENDCo. This may include being led out by a member of staff.

Staff will be taught to modify evacuation routes for people with disabilities as part of their annual training.

Refuge areas are located around the school; in the event of a fire, and if there is no alternative escape route, people with physical disabilities will go to the nearest refuge area with a member of staff and wait for assistance to evacuate. Visitors, members and staff with disabilities will be informed of the location of the school’s refuge areas on their arrival at the school.

If club membership makes it necessary, visual alarms, such as flashing lights and beacons, will be placed in all corridors throughout the school to ensure those with hearing difficulties are aware should a fire break out.

Evacuation procedures for disabled people

Children and adults with mobility impairments: Those who require only limited assistance with evacuation will evacuate the building using the nearest exit. If they move at a slower pace, they will allow others to exit the building before them and then continue their evacuation to their designated refuge area. A responsible member of staff will be nominated to escort people who need assistance from the building.

Children or adults with visual disabilities: Those with visual disabilities will usually require the assistance of one person to evacuate safely. On level surfaces, the visually impaired person will take the helper’s arm and follow them.

Children or adults with hearing disabilities: Those with hearing disabilities will be escorted out of the building by staff. Staff with hearing impairments may require additional means of being warned in the event of a fire alarm, e.g. a pager that vibrates when the alarm is activated and/or a flashing beacon linked to the alarm. The school will provide the appropriate alternative means of alarm in the event of this becoming necessary.

Cooking facilities

To ensure potential fire hazards are mitigated whilst cooking, as part of the club’s activities, extra measures will be taken to ensure the safety of staff members, club members and visitors.

The kitchen will be thoroughly cleaned at the end of each day by the school’s kitchen staff team, to ensure potential fire hazards, such as excess grease, are mitigated. Children are not permitted in the school kitchen. The school’s staff kitchen will be cleaned by Cedars staff before use.

The school’s site manager will check all electrical equipment in the school canteen and classrooms to ensure their usability and safety. An electrical engineer will check all electrical equipment annually to ensure their usability.

Flammable materials, such as flour, will be kept away from heat sources, including microwaves, cookers and radiators. Food waste, including paper food wrappers, will be properly disposed of, and bins emptied daily to mitigate fire risks.

Club members will not be permitted to use the cookers and microwaves. The staff kitchen may be used under close supervision.

Staff members will report any defective equipment to the buildings and finance officer or headteacher as soon as possible.

Fire hazards

Relevant risk assessments will be conducted to ensure areas for concern are identified and addressed.

Waste paper bins are emptied daily to mitigate risks. To minimise the risk of a fire, outdoor waste containers and refuse bins will be kept at least five metres from the school building at all times.

Lighters, matches and other sources of ignition not used by Cedars staff or children.

Electrical equipment will be reviewed in accordance with relevant school policy, and steps will be taken, e.g. regular checks by the fire safety officer, to ensure equipment is maintained to a high standard.

Procedures in the event of a fire

In the event of fire, the person who discovers the fire and/or smoke will sound the nearest fire alarm. As soon as the fire alarm sounds the fire brigade will be called, by a member of staff nominated by the fire safety officer (the manager).

All club members, volunteers and visitors will be advised never to fight fire; instead, they will simply sound the alarm and exit the building via the nearest route out to a safe area.

On hearing the alarm, the building will be evacuated without delay and all pupils, staff and club members and visitors will proceed to their designated fire evacuation point for a register called by the fire safety officer. If it is possible, the fire grab bag will be taken out; this contains protection for the children and contact lists.

People will only be allowed to re-enter the building once it has been deemed safe by the fire safety officer or other responsible person, e.g. member of the fire brigade. If the building is not safe to re-enter all staff members, children and visitors will be sent home until further notice. Children may be sent to another building if it is deemed fit for purpose by the fire safety officer and a trained professional, e.g. member of the fire brigade.

In the event someone is injured in the fire, the fire safety officer will ring for an ambulance immediately. Whilst waiting for the emergency services, the club’s first aider will administer any first aid required.

Measures, such as multiple fire escapes and exits will be put in place, to ensure all staff members, children and visitors can escape the school. Fire exits will be kept clear and are clearly signed.

To ensure the fire alarm is heard throughout the school buildings, manual call points are fitted throughout the school.

The club has a relevant and up-to-date Evacuation Procedure in place. The Evacuation Procedure will be reviewed by the fire safety officer and deputy headteacher bi-annually) or sooner if a review is necessary or legislation changes, to ensure it is accurate and relevant.

A copy of the school’s Evacuation Procedure is kept in every classroom. As part of their training, all staff members will familiarise themselves with the Evacuation Procedure. Details of the school’s fire evacuation points are available in the Evacuation Procedure.

Detection equipment

All areas within the school are fitted with a smoke detector.

Arrangements for detection equipment to be tested are organised by the buildings and finance officer each year. A trained electrical engineer will test the smoke and fire detectors; any required maintenance will also be carried out by the engineer.

The school’s budget will be adjusted to ensure the upkeep of fire detection equipment.

Protection equipment

Fire protection equipment is available and easily accessible all around the school.

There are six recognised classes of fire as follows:

- Class A: Fires involving solid materials, e.g. wood, paper or textiles

- Class B: Fires involving flammable liquids, e.g. petrol, diesel or oil

- Class C: Fires involving gases

- Class D: Fires involving metals

- Class E: Fires involving electricity

- Class F: Fires involving cooking oils, e.g. deep fat fryers

The school will ensure that the type of fire extinguisher provided is suitable for the risks involved around the premises, that they are adequately maintained, and that appropriate records are kept of all inspections and tests. All staff members will complete an assessment annually to demonstrate that they are aware of the location and type of extinguishers, available alarm points and exits.

All fire protection equipment will be checked by the fire safety officer termly. The school’s budget will be adjusted to ensure the upkeep of fire protection equipment.

The building and finance officer will keep a checklist of all service by dates on fire extinguishers, to ensure they are not kept beyond their shelf life.

Emergency lighting is installed; in the event that normal lights fail during a fire, these emergency lights will illuminate exit routes and help people escape if visibility is poor. Emergency lighting will be tested and checked site supervisor to ensure it remains in full working order, and remedial action taken in the event of a failure. The buildings and finance officer will also ensure that the emergency lighting is annually inspected, tested and maintained by specialist contractors. All tests will be recorded, together with any remedial action taken or any changes made to the system.

Fire drills

The fire safety officer (the manager) will carry out random fire drills at least once per term. All staff members, children and visitors will be expected to take part in the drill.

Children will go to their class’s designated evacuation point for a registration call. Staff and children will only be allowed to return to their activities once all registers have been called. Visitors and staff will be allowed to return to their work once the manager has finished the registers.

The fire safety officer will make notes based on the evacuation, e.g. speed and organisation. Depending on the success of the fire drill, e.g. how long the evacuation took, the fire safety officer may make suggestions based on how the club can ensure the safe and quick evacuation of the school. Any improvements will be recorded.

During the fire drill, staff will take a zero-tolerance approach to children misbehaving or running. Children will be expected to behave vigilantly, as they would in the event of a real fire.

Staff training

Staff will undergo mandatory fire safety training after joining the club. This will be led by the fire safety officer and include details about the fire precautions in the workplace and emergency procedures, in accordance with The Regulatory Reform (Fire Safety) Order 2005 (as amended).

The fire safety officer will undergo training from fire safety professionals, to ensure they are capable of carrying out their role.

Refresher training will be undertaken by all staff in accordance with the school’s Fire Safety Training Plan, to ensure staff are reminded of the procedures in place, and know what to in the event of a fire.

To help ensure that staff members are knowledgeable about fire safety, the fire safety officer will communicate regular updates and correspondence.

An annual form is collected from all staff to ensure that their knowledge of fire equipment, exits, notifying others of a fire and other safety procedures is up-to-date.

Monitoring and review

This policy will be reviewed annually by the fire safety officer and the deputy headteacher, and after any changes to relevant legislation or statutory guidance.

Any changes made to this policy and other relevant documents will be communicated to all members of staff. Changes pertaining to children, e.g. their responsibilities, will be communicated to parents, carers and children.